## Sheet1
CHINA CONSTRUCTION (S.P.) DEVELOPMENT CO PTE LTD |  |  |  | Form No: | EPE-ME-04_1
PROPOSED PARC ESTA CONDOMINIUM |  |  |  | Ref No: | EPE-ME-04_2
ACCEPTANCE CHECKLIST FOR ELECTRICAL INSTALLATION (Basement & Common Area)
Location / Storey: EPE-ME-04_3 |  |  |  | Grid Ref : | EPE-ME-04_4
Structural Element: EPE-ME-04_5 |  |  |  | Drawing No: | EPE-ME-04_6
Date/Time of Notification: EPE-ME-04_7 |  | Date/Time Inspection Required: |  |  | EPE-ME-04_8
Item | Detail | Y/N/NA | Checked By |  | Approved By
|  |  | Engr/Foreman Date |  | RE/RTO Date
A | ELECTRICAL INSTALLATION
1 | Setting out | EPE-ME-04_9
2 | Installation check | EPE-ME-04_10
a | - cable laying | EPE-ME-04_11
b | - connection | EPE-ME-04_12
3 | Testing | EPE-ME-04_13
a | - alignment | EPE-ME-04_14
b | - levels | EPE-ME-04_15
c | - resistance test | EPE-ME-04_16
4 | Flex connection | EPE-ME-04_17
5 | Others | EPE-ME-04_18
B | POSITION OF POINTS
1 | Electrical switches | EPE-ME-04_19
2 | Electrical power points | EPE-ME-04_20
3 | Light points | EPE-ME-04_21
4 | Tel / Data point | EPE-ME-04_22
5 | Lightning conductor | EPE-ME-04_23
6 | SCV point | EPE-ME-04_24
7 | Number of point as per S&P | EPE-ME-04_25
C | ALIGNMENT POSITION AND CONCEALED CONDUITS
1 | Electrical | EPE-ME-04_26
2 | Sanitary | EPE-ME-04_27
3 | Plumbing | EPE-ME-04_28
4 | Air-con | EPE-ME-04_29
5 | Telephone / Data points | EPE-ME-04_30
6 | Lightning conductor | EPE-ME-04_31
7 | Security System | EPE-ME-04_32
D | ANY OTHER
1 | Avoid concealed conduits inside false ceiling of wet area | EPE-ME-04_33
2 | Label electrical circuit for power point and switches | EPE-ME-04_34
3 | Cable tray/trunking is properly secured to the fittings | EPE-ME-04_35
REMARKS:
Checked By: |  | Rectification Checked By: |  |  | Approved By:
China Construction |  | China Construction |  |  | Resident Engineer/RTO
Signature/Name/Date |  | Signature/Name/Date |  |  | Signature/Name/Date